## Sheet1
S.No | Scenario | Pre-requisites | Steps | Expected result | Actual result
1 | Verify IP Alarm Reporting : Ensure the system can report alarms via IP. | System is connected to an IP communicator. | Trigger an alarm (e.g., open a door sensor).
|  |  | Check if the alarm is reported via IP. | Alarm is reported successfully.
2 | Verify Zone Doubling Feature ;Ensure the system supports zone doubling. | System is configured with 8 hardwired zones | Enable zone doubling in the system configuration.
|  |  | Add 7 more hardwired zones. | System supports 15 hardwired zones.
3 | Verify Event Logging: Ensure events are logged correctly. | System is in normal operation. | Perform actions (e.g., arm/disarm the system, trigger alarms).
|  |  | Check the event log on the system keypad. | Events are logged with time/date stamps.
4 | Verify Partition Functionality : Ensure partitions operate independently. | System is configured with 2 partitions. | Arm Partition 1.
|  |  | Check if Partition 2 remains disarmed. | Partitions operate independently.
5 | Verify Phone Line Cut Monitoring : Ensure the system detects phone line cuts. | System is connected to a phone line. | Simulate a phone line cut.
|  |  | Check the system's response (e.g., triggers local sounders/bell). | System detects the phone line cut and responds appropriately.
6 | Verify User Scheduling : Ensure user scheduling works as expected. | System is configured with user schedules. | Set up a user schedule (e.g., auto arm/disarm at specific times).
|  |  | Verify the system follows the schedule. | System arms/disarms according to the schedule.
7 | Verify Output Device Control : Ensure output devices (e.g., lights, alarms) are controlled correctly. | System is configured with output devices. | Arm the system. Verify lights turn off. Disarm the system. Verify lights turn on. | Output devices are controlled as expected.